{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"images":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист1","index":0,"n_rows":46,"n_cols":3,"rows_kept":46,"merged":[[1,0,1,2]],"flags":["formulas_cached_only"]}
["Product Code: 101172260"]
["Spare parts card"]
["N°","Product Code","Description"]
[1,7105292,"Base portacondensatore - Capacitor box base"]
[2,7102236,"Condensatore - Capacitor"]
[3,7105295,"Coperchio portacondensatore - Cover capacitor box"]
[4,360341,"Vite - Screw"]
[5,290241,"Vite - Screw"]
[6,290241,"Vite - Screw"]
[7,7002011,"Fermacavo - Cable locker"]
[8,7201060,"Cavo - Cable"]
[9,7103831,"Passacavo - Cable holder"]
[10,7201069,"Interruttore - Switch"]
[11,360341,"Vite - Screw"]
[12,3000319,"Morsettiera - Terminal box"]
[13,7102174,"Copriventola - Fan cover"]
[14,7105674,"Tirante - Screw"]
[15,7101796,"Ventola - Fan"]
[16,7101797,"Scudo - Shield"]
[17,1000250,"Anello compensazione - Spring washer"]
[18,7103644,"Statore - Stator"]
[20,1440100,"Cuscinetto - Ball bearing"]
[21,7103649,"Rotore - Rotor"]
[22,1440100,"Cuscinetto - Ball bearing"]
[23,7105811,"Tappo - Cap"]
[25,7103565,"Coperchio aspirazione - Suction cover"]
[26,7103579,"Tirante - Screw"]
[27,7103573,"Guarnizione - Gasket"]
[28,7103572,"Cilindro inox - Inox cylinder"]
[29,30462,"Vite - Screw"]
[30,830572,"Rondella - Washer"]
[31,7103552,"Girante - Impeller"]
[32,7103574,"Diffusore - Diffuser disk"]
[33,7103575,"Diffusore - Diffuser disk"]
[34,7106529,"Rondella - Washer"]
[35,7107108,"Anello di tenuta - Packing"]
[36,7103646,"Tenuta meccanica - Mechanical seal"]
[37,3090909,"Tenuta meccanica - Mechanical seal"]
[38,7101019,"Anello paragoccia - Packing"]
[39,7103573,"Guarnizione - Gasket"]
[40,7103563,"Corpo pompa ghisa - Cast iron pump body"]
[41,7104161,"Raccordo - Connector"]
[42,30891,"Vite - Screw"]
[43,830601,"Rondella - Washer"]
[44,7105281,"Dado - Nut"]
[45,7101216,"Maniglia - Handle"]

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Лист3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}