{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"images":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист1","index":0,"n_rows":59,"n_cols":3,"rows_kept":59,"merged":[[1,0,1,2]],"flags":["formulas_cached_only"]}
["Product Code: 101440760"]
["Spare parts card"]
["N°","Product Code","Description"]
[1,7103646,"Tenuta meccanica - Mechanical seal"]
[2,7107216,"Rondella - Washer"]
[3,1010112,"Anello seeger - Seeger ring"]
[4,7104320,"Distanziale - Spacer"]
[6,7104321,"Distanziale - Spacer"]
[7,7104502,"Diffusore - Diffuser disk"]
[8,7103574,"Diffusore - Diffuser disk"]
[9,7103552,"Girante - Impeller"]
[10,7108029,"Coperchio diffusore - Diffuser cover"]
[11,830572,"Rondella - Washer"]
[12,30462,"Vite - Screw"]
[13,7104521,"Fondello - Bottom plate"]
[14,7106474,"Calotta protezione - Protection cup"]
[15,7106482,"Rotore - Rotor"]
[16,7106581,"Statore - Stator"]
[17,7107358,"Tirante - Screw"]
[18,7106487,"Cuscinetto - Ball bearing"]
[19,1316027,"Anello OR - O-ring"]
[20,7201573,"Anello OR - O-ring"]
[21,7106488,"Flangia inferiore - Lower flange"]
[25,230622,"Vite - Screw"]
[26,3090909,"Tenuta meccanica - Mechanical seal"]
[28,7106472,"Rondella - Washer"]
[29,7106077,"Flangietta aggancio - Flange"]
[30,160472,"Vite - Screw"]
[31,830082,"Rondella - Washer"]
[32,7104522,"Cilindro inox - Inox cylinder"]
[33,7106344,"Passacavo - Cable holder"]
[34,7106341,"Ghiera - Ring nut"]
[35,7103405,"Antistrappo - Circlip"]
[36,7105927,"Guarnizione - Gasket"]
[37,230432,"Vite - Screw"]
[38,7106343,"Rondella - Washer"]
[39,7106346,"Anello OR - O-ring"]
[40,7106342,"Rondella - Washer"]
[41,7104322,"Flangia superiore - Upper flange"]
[42,7201573,"Anello OR - O-ring"]
[43,1316027,"Anello OR - O-ring"]
[44,1000250,"Anello compensazione - Spring washer"]
[45,1440100,"Cuscinetto - Ball bearing"]
[46,7105298,"Coperchio portacondensatore - Cover capacitor box"]
[47,290241,"Vite - Screw"]
[48,7103171,"Clips fermacondensatore - Capacitor clips"]
[49,7201843,"Condensatore - Capacitor"]
[50,7105296,"Base portacondensatore - Capacitor box base"]
[51,7005086,"Interruttore - Switch"]
[52,7105411,"Passacavo - Cable holder"]
[53,7105415,"Ghiera - Ring nut"]
[54,7105412,"Passacavo - Cable holder"]
[55,7002011,"Fermacavo - Cable locker"]
[56,290241,"Vite - Screw"]
[57,7105414,"Morsettiera - Terminal box"]
[58,270241,"Vite - Screw"]
[59,7202440,"Cavo - Cable"]
[60,7201934,"Cavo - Cable"]
[61,7105430,"Quadro elettrico - Electric box"]

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Лист3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}