{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"images":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист1","index":0,"n_rows":61,"n_cols":3,"rows_kept":61,"merged":[[1,0,1,2]],"flags":["formulas_cached_only"]}
["Product Code: 101445280"]
["Spare parts card"]
["N°","Product Code","Description"]
[1,"007107211","Tenuta meccanica - Mechanical seal"]
[2,"007107216","Rondella - Washer"]
[3,"001010112","Anello seeger - Seeger ring"]
[7,"007104502","Diffusore - Diffuser disk"]
[8,"007103574","Diffusore - Diffuser disk"]
[9,"007103552","Girante - Impeller"]
[10,"007108029","Coperchio diffusore - Diffuser cover"]
[11,"00830572","Rondella - Washer"]
[12,"0030462","Vite - Screw"]
[13,"007104521","Fondello - Bottom plate"]
[14,"007106474","Calotta protezione - Protection cup"]
[15,"007106484","Rotore - Rotor"]
[16,"007106583","Statore - Stator"]
[17,"007107358","Tirante - Screw"]
[18,"007106487","Cuscinetto - Ball bearing"]
[19,"007201573","Anello OR - O-ring"]
[20,"001316027","Anello OR - O-ring"]
[21,"007107213","Flangia inferiore - Lower flange"]
[22,"007107148","Anello OR - O-ring"]
[23,"007107212","Flangia portatenuta - Flange"]
[24,"007107145","Guarnizione - Gasket"]
[25,"00230432","Vite - Screw"]
[26,"007107631","Anello corteco - Seal ring"]
[27,"00220272","Vite - Screw"]
[28,"007106472","Rondella - Washer"]
[29,"007106077","Flangietta aggancio - Flange"]
[30,"00160472","Vite - Screw"]
[31,"00830082","Rondella - Washer"]
[32,"007104522","Cilindro inox - Inox cylinder"]
[33,"007106344","Passacavo - Cable holder"]
[34,"007106341","Ghiera - Ring nut"]
[35,"007103405","Antistrappo - Circlip"]
[36,"007105927","Guarnizione - Gasket"]
[37,"00230432","Vite - Screw"]
[38,"007106343","Rondella - Washer"]
[39,"007106346","Anello OR - O-ring"]
[40,"007106342","Rondella - Washer"]
[41,"007104322","Flangia superiore - Upper flange"]
[42,"001316027","Anello OR - O-ring"]
[43,"007201573","Anello OR - O-ring"]
[44,"001000250","Anello compensazione - Spring washer"]
[45,"001440100","Cuscinetto - Ball bearing"]
[46,"007105298","Coperchio portacondensatore - Cover capacitor box"]
[47,"00290241","Vite - Screw"]
[48,"007103171","Clips fermacondensatore - Capacitor clips"]
[49,"007005278","Condensatore - Capacitor"]
[50,"007105296","Base portacondensatore - Capacitor box base"]
[51,"007005087","Interruttore - Switch"]
[52,"007105411","Passacavo - Cable holder"]
[53,"007105415","Ghiera - Ring nut"]
[54,"007105412","Passacavo - Cable holder"]
[55,"007002011","Fermacavo - Cable locker"]
[56,"00290241","Vite - Screw"]
[57,"007105414","Morsettiera - Terminal box"]
[58,"00270241","Vite - Screw"]
[59,"007202440","Cavo - Cable"]
[60,"007201935","Cavo - Cable"]
[61,"007105432","Quadro elettrico - Electric box"]

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Лист3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}