{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Лист1","Лист2","Лист3"],"not_rendered":{"images":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист1","index":0,"n_rows":63,"n_cols":4,"rows_kept":63,"merged":[[1,0,1,3]],"flags":["formulas_cached_only"]}
["Product Code: 101445290"]
["Spare parts card"]
["N°","Product Code","Description","Qt"]
[1,"007107211","Tenuta meccanica - Mechanical seal",1]
[2,"007107216","Rondella - Washer",1]
[3,"001010112","Anello seeger - Seeger ring",1]
[4,"007104320","Distanziale - Spacer",1]
[6,"007104321","Distanziale - Spacer",1]
[7,"007104502","Diffusore - Diffuser disk",1]
[8,"007103574","Diffusore - Diffuser disk",5]
[9,"007103552","Girante - Impeller",6]
[10,"007108029","Coperchio diffusore - Diffuser cover",1]
[11,"00830572","Rondella - Washer",1]
[12,"0030462","Vite - Screw",1]
[13,"007104521","Fondello - Bottom plate",1]
[14,"007106474","Calotta protezione - Protection cup",1]
[15,"007106485","Rotore - Rotor",1]
[16,"007106584","Statore - Stator",1]
[17,"007107359","Tirante - Screw",4]
[18,"007106487","Cuscinetto - Ball bearing",1]
[19,"007201573","Anello OR - O-ring",1]
[20,"001316027","Anello OR - O-ring",1]
[21,"007107213","Flangia inferiore - Lower flange",1]
[22,"007107148","Anello OR - O-ring",1]
[23,"007107212","Flangia portatenuta - Flange",1]
[24,"007107145","Guarnizione - Gasket",1]
[25,"00230432","Vite - Screw",1]
[26,"007107631","Anello corteco - Seal ring",1]
[27,"00220272","Vite - Screw",4]
[28,"007106472","Rondella - Washer",1]
[29,"007106077","Flangietta aggancio - Flange",1]
[30,"00160472","Vite - Screw",4]
[31,"00830082","Rondella - Washer",4]
[32,"007104523","Cilindro inox - Inox cylinder",1]
[33,"007106344","Passacavo - Cable holder",1]
[34,"007106341","Ghiera - Ring nut",1]
[35,"007103405","Antistrappo - Circlip",1]
[36,"007105927","Guarnizione - Gasket",1]
[37,"00230432","Vite - Screw",1]
[38,"007106343","Rondella - Washer",1]
[39,"007106346","Anello OR - O-ring",1]
[40,"007106342","Rondella - Washer",1]
[41,"007104322","Flangia superiore - Upper flange",1]
[42,"001316027","Anello OR - O-ring",1]
[43,"007201573","Anello OR - O-ring",1]
[44,"001000250","Anello compensazione - Spring washer",1]
[45,"001440100","Cuscinetto - Ball bearing",1]
[46,"007105298","Coperchio portacondensatore - Cover capacitor box",1]
[47,"00290241","Vite - Screw",4]
[48,"007103171","Clips fermacondensatore - Capacitor clips",1]
[49,"007005090","Condensatore - Capacitor",1]
[50,"007105296","Base portacondensatore - Capacitor box base",1]
[51,"007005087","Interruttore - Switch",1]
[52,"007105411","Passacavo - Cable holder",1]
[53,"007105415","Ghiera - Ring nut",2]
[54,"007105412","Passacavo - Cable holder",1]
[55,"007002011","Fermacavo - Cable locker",2]
[56,"00290241","Vite - Screw",2]
[57,"007105414","Morsettiera - Terminal box",1]
[58,"00270241","Vite - Screw",1]
[59,"007202440","Cavo - Cable",1]
[60,"007201935","Cavo - Cable",1]
[61,"007105433","Quadro elettrico - Electric box",1]

{"sheet":"Лист2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Лист3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}